| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY050 |  |  |  |  |  |  |  |  |
| Roof Top Unit #3 isn't working |  |  |  |  |  |  |  |  |
| CSS #22960 - CMI # 6503 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 01.10.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 156.00 | 32 |  |  |  |  |  | $ 4,992.00 |
| 1.2 New Bryant Package unit |  |  |  |  | $ - | $ - | $ - | $ 5,580.00 |
| 1.3 Crane / rigging |  |  |  |  |  |  |  | $2,700.00 |
| 1.4 Misc |  |  |  |  |  |  |  | $ 594.50 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 13,866.50 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ 450.00 |
| CE Factor .90% |  |  |  |  |  |  |  | ($1,431.65) |
| Grand Total |  |  |  |  |  |  |  | $ 12,884.85 |

Roof Top Unit #3 isn't working in the training facility. RTU #3 heats classroom 120 & 121 and currently both are cold. Also, the 4 baseboard heaters in these classrooms have damaged/broken. There is currently no heat source for these exterior walled rooms.

Proposal to provide necessary labor and materials to replace RTU # 3 Carrier 48TME006-A-501 serial 1606G50533 at the US Army Reserve Center, 123 Route 303, Orangeburg, NY.

INCLUDES:

- Demo and disposal off site of existing unit

- Crane and rigging

- New Bryant 582KP06A110 package unit with economizer – unit set on existing curb

- Necessary power and control wiring to connect to existing

- Necessary gas pipe to connect to existing