Repair leaking valve at main water supply line. Repairs needed are:

Repair or Replace 8 inch gate valve and service and replace heat trace below valve. restore water service.

Proposal to:

• 8” Flange x grooved OS&Y gate valve

• Grooved coupling, flange gasket, nuts and bolts

• HCH2000-120 Safe-T-Valve heater and thermostat

• Necessary power wiring to existing panel

• Ames CM 400/500VT relief valve

• Shut off water service in the road to preform repairs

• Restore water service: test repairs

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY050 |  |  |  |  |  |  |  |  |
| Repair leaking valve at main water |  |  |  |  |  |  |  |  |
| CSS #89839 - CMI #19352 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 10.31.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor |  |  |  |  |  |  |  | $ 5,718.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 7,950.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 13,668.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE Factor .09% |  |  |  |  |  |  |  | $ (1,230.12) |
| Grand Total |  |  |  |  |  |  |  | $ 12,437.88 |