Repair wall pack lights on USARC, OMS and Heated Storage building. Approx 10 lights out.

Proposal to:

CMI Tech Mike found the LED’s are burnt out.

He will remove and replace existing lights with new.

He will recycle old lights when completed.

Note

** Only able to access half of the lights now, too much in the way to access the back lot. **

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY054 |  |  |  |  |  |  |  |  |
| Repair wall pack lights on USARC |  |  |  |  |  |  |  |  |
| CSS #91137 - CMI #20612 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 02.13.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 80.00 | 16 |  |  |  |  |  | $ 1,280.00 |
| 1.2 Material |  |  |  | $ 1,190.00 | $ 83.30 | $ 1,273.30 | $ 254.66 | $1,527.96 |
| 1.2 Material |  |  |  | $ 294.00 | $ 20.58 | $ 314.58 | $ 62.92 | $ 377.50 |
| 1.4 Misc/Recycling fee |  |  |  |  |  |  |  | $ 50.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 3,235.46 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |

| 2.1 Incurred | $ 80.00 | 2 |  |  |  |  |  | $ 160.00 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2.2 CE Factor 1.02% |  |  |  |  |  |  |  | $ 67.90 |
| Grand Total |  |  |  |  |  |  |  | $ 3,463.36 |