Repair storm water Drain riser and cover.

Proposal to:

- Cut asphalt and concrete around catch basin

- Remove broken grate and frame

- Remove deteriorated brick riser.

- Repair deteriorated basin beneath riser.

- Install concrete riser H-20 rating

- Install (1) cast iron frame and grate H-20 rating.

- Re-pour concrete around frame assemblies.

- Replace asphalt where disturbed.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY059 |  |  |  |  |  |  |  |  |
| Repair storm water Drain riser |  |  |  |  |  |  |  |  |
| CSS #0059 - CMI #17188 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 4/25/2022 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 120.00 | 32 |  |  |  |  |  | $ 3,840.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 1,918.53 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 5,758.53 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE Factor 1.03% |  |  |  |  |  |  |  | $ 172.75 |
| Grand Total |  |  |  |  |  |  |  | $ 5,931.28 |