Multiple handles on the oil distribution system are not working.

** I went at NY059 yesterday, checked the issue, spoke with staff over there and got to this conclusion:

There are 6 working stations with 4 distribution handles each, none of handles is working properly, missing parts, broken, non functional, even they tried to replace batteries, still not working. I did speak with Mike, they all were agreed to replace all of handles with new ones. **

Proposal to:

- Replace all 24 distribution handles at 6 workstation (4 on each station)

Note: This proposal is to replace them like for like.

| NY059 |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Multiple handles on the oil distribution |  |  |  |  |  |  |  |  |
| CSS #25076 - CMI #13357 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 09.17.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 24 |  |  |  |  |  | $ 2,040.00 |
| 3 guys 8 hours each |  |  |  |  |  |  |  |  |
| 1.2 Graco - replace existing |  |  |  |  | $ - | $ - | $ - | $ 16,200.00 |
| 24 x $675 |  |  |  |  |  |  |  |  |
| 1.2 Hose swivel |  |  |  |  | $ - | $ - | $ - | $ 1,800.00 |
| 24 x $75 |  |  |  |  |  |  |  |  |
| 1.3 Misc |  |  |  |  |  |  |  | $ 300.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 20,340.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 250.00 | 1 |  |  |  |  |  | $ 250.00 |
| CE Factor .09% |  |  |  |  |  |  |  | $ (2,059.00) |

| Grand Total |  |  |  |  |  |  |  | $ 18,531.00 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |