Repair compressed air hose reels and fittings, many leaks.

Proposal to:

- Replace 4 retractable hose systems, 3/8 inch.

- Service all air systems, check all connections, replace threading tape.

- Test all air systems.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY059 |  |  |  |  |  |  |  |  |
| Repair compressed air hose reels |  |  |  |  |  |  |  |  |
| CSS #35303 - CMI #16871 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 04.07.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 30 |  |  |  |  |  | $ 2,550.00 |
| 3 techs 10 hours each |  |  |  |  |  |  |  |  |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 3,130.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 5,680.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 250.00 | 1 |  |  |  |  |  | $ 250.00 |
| CE Factor .9% |  |  |  |  |  |  |  | ($593.00) |
| Grand Total |  |  |  |  |  |  |  | $ 5,337.00 |