No heat in Boiler room
Unit heater in Boiler room has a blown blower motor. In addition, the backflow preventer and pipes that was lowered in the boiler room needs to be insulated as it is right under the damper for outside air.

Proposal to:

Replacement of Motor for Unit Heater in Boiler Room / Pipe Insulation

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY059 |  |  |  |  |  |  |  |  |
| No heat in Boiler room |  |  |  |  |  |  |  |  |
| CSS #91505 - CMI #20625 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 01.17.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 120.00 | 16 |  |  |  |  |  | $ 1,920.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 909.84 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,829.84 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred |  |  |  |  |  |  |  | $ 360.00 |
| 2.2 CE Factor 9.% |  |  |  |  |  |  |  | $ (318.99) |

| Grand Total |  |  |  |  |  |  |  | $ 2,870.85 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |