The below work was found while on site on wo 6050. That wo was completed and billed for the incurred. This proposal is for the work below.

Supply all labor and material needed to complete the following

• Inspect Issue

• Repair direct short to ground for temporary fix

• Replace compressor

• Replace Liquid Drier

• Replace contactor

• Pressure test new parts.

• Check charge

• Start Up HP 1-2

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over and Above |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Heat Pump Number 1 and 2 |  |  |  |  |  |  |  |  |
| CSS #17804 - CMI # 6467 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 11.20.19 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 108.00 | 12 |  |  |  |  |  | $ 1,296.00 |
| 1.2 Compressor heat pump 1 & 2 |  |  |  |  | $ - | $ - | $ - | $ 2,024.53 |
| 1.3 Misc |  |  |  |  |  |  |  | $96.60 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 3,417.13 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE Factor .90% |  |  |  |  |  |  |  | $ 341.72 |
| Grand Total |  |  |  |  |  |  |  | $ 3,075.41 |

• Test operation