Follow up proposal:

After repairs were made to the bad control board. Sub found that the condenser & evap unit also needed to be replaced.

Proposal to:

- Replacement of Condenser & Evaporator Unit

- Recover Refrigerant

- Pull Vacuum on Line Sets

- Charge & Cycle Units

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Repair SIPR room AC / follow up repair |  |  |  |  |  |  |  |  |
| CSS #1819 - CMI #19788 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 11.10.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 115.00 | 20 |  |  |  |  |  | $ 2,300.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 3,282.91 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 5,582.91 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE Factor .90% |  |  |  |  |  |  |  | $ (558.30) |
| Grand Total |  |  |  |  |  |  |  | $ 5,024.61 |