Electrical repairs. 4 ceiling lamps (4ft florescent) need ballast replaced. Also 2 recessed florescent lamps need ballasts.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Electrical repairs. 4 ceiling lamps |  |  |  |  |  |  |  |  |
| CSS #22129 - CMI # 6873 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 04.01.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 100.00 | 10 |  |  |  |  |  | $ 1,000.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 3,174.69 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 4,174.69 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| CE Factor 1.03% |  |  |  |  |  |  |  | $ 125.25 |
| Grand Total |  |  |  |  |  |  |  | $ 4,299.93 |

Troubleshoot lighting fixtures for repairs

Lighting fixtures that are inoperable contain Emergency Battery packs or

Inverters. Need replacement per each fixture- ( 4 - ceiling 4 ft, 2- recessed)