Multiple Lights out throughout interior of building.

Proposal to:

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Multiple Lights out throughout interior of building. |  |  |  |  |  |  |  |  |
| CSS #25209 - CMI # 8687 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 9.24.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 120.00 | 14.67 |  |  |  |  |  | $ 1,760.40 |
| 1.2 Material (see breakdown) |  |  |  |  | $ - | $ - | $ - | $ 2,155.41 |
| 1.3 Misc |  |  |  |  |  |  |  | $783.16 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 4,698.97 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE Factor .90% |  |  |  |  |  |  |  | $ -469.90 |
| Grand Total |  |  |  |  |  |  |  | $ 4,229.07 |

- Repair (32) 2ft x 4ft florescent ceiling fixtures.

- Remove lens covers and clean.

- Replace (4) T-8 bulbs per fixture. 128 Bulbs

- Remove and replace (5) Emergency Light Ballasts

- Remove and replace (7) standard Ballasts

Breakdown

128 qty. T-8 Sylvania 32 W 3500K Bulbs

5 EB3000-TD Ballasts Type NE (Emergency Light).

7 GE 4PRx4 Ballasts instant.