Repair doors. 6 Doors are sticking and will not shut securely creating a security issue. Doors are located at Rm115, RM213B, RM 223, Rear Entrance To USARC, Supply Storage area door, and the rear door of OMS building.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Repair doors. 6 Doors are sticking and will not shut |  |  |  |  |  |  |  |  |
| CSS #26042 - CMI #9749 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 10.02.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 120.00 | 12 |  |  |  |  |  | $ 1,440.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 856.54 |
| 1.3 Misc |  |  |  |  |  |  |  | $459.31 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,755.85 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| 2.2 CE Factor .90% |  |  |  |  |  |  |  | ($275.56) |
| Grand Total |  |  |  |  |  |  |  | $ 2,480.26 |

Proposal to:

- Install damaged weather stripping on double door and closer (USARC door)

- Install closer and adjust jamb (OMS door)

- Adjust doors and jambs replace hinges (R113, R213B,R223)