Repair 4 Ceiling Emergency lights that need bad Ballast replaced. Total 0f 10 Shower lights are out, 6 in men's and 4 in females.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Repair 4 Ceiling Emergency lights |  |  |  |  |  |  |  |  |
| CSS #27801 - CMI #12520 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 03.12.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 100.00 | 16 |  |  |  |  |  | $ 1,600.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 2,474.10 |
| 1.3 Misc |  |  |  |  |  |  |  | $ 494.82 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 4,568.92 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE Factor 1.03% |  |  |  |  |  |  |  | $ 137.06 |
| Grand Total |  |  |  |  |  |  |  | $ 4,705.98 |

Proposal to:

| Troubleshoot lighting fixtures for repairs in Hallways/ Offices |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Lighting fixtures that are inoperable contain Emergency Battery Pack Inverter |  |  |  |  |  |  |
| Troubleshoot lighting fixtures in Ladies' / Men's Room shower stalls |  |  |  |  |  |  |
| Lighting fixtures contain compact fluorescent lighting ballasts/ bulbs |  |  |  |  |  |  |