The security one arm gate is broken need to be replace this has a blinking light on top.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over and Above |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| the security one arm gate |  |  |  |  |  |  |  |  |
| CSS #29444 - CMI #12272 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 4.01.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 120.00 | 8 |  |  |  |  |  | $ 960.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 4,265.36 |
| 1.3 Misc |  |  |  |  |  |  |  | $ 1,045.07 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 6,270.43 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE Factor 1.03% |  |  |  |  |  |  |  | $ 188.11 |
| Grand Total |  |  |  |  |  |  |  | $ 6,458.54 |

Proposal to:

- Remove gate arm assembly

- Install fiberglass insert in gate arm

- Install gate arm sensing edge

- Connect sensing edge to control module.

- Repair amber light and wiring on gate arm.