Repair Domestic hot water heaters. Both domestic hot water heaters are going into fault, shutting down and having to be reset daily.

Proposal to:

- Perform Annual PM on both Aerco Water heaters

- Install new media in the condensate neutralizer

- Replace 1 Condensate trap ball

- Replace both pressure switches

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Repair Domestic hot water heaters |  |  |  |  |  |  |  |  |
| CSS #33582 - CMI #15551 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 12.01.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 111.00 | 12 |  |  |  |  |  | $ 1,332.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 2,850.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 4,182.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE Factor .9% |  |  |  |  |  |  |  | ($418.20) |
| Grand Total |  |  |  |  |  |  |  | $ 3,763.80 |