Repair two eye wash stations that have very low water pressure. The Eye wash stations located in the oil storage room and in the OMS mechanical room.

Proposal to:

- Replace two eye wash mixing valves.

- Provide new fittings.

- Test new system

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over and Above |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Repair two eye wash stations |  |  |  |  |  |  |  |  |
| CSS #34213 - CMI #16887 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 04.11.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 20 |  |  |  |  |  | $ 1,700.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 2,400.00 |
| YEY wash mixing valves, $1200 each x 2 |  |  |  |  |  |  |  |  |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 4,100.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 250.00 | 1 |  |  |  |  |  | $ 250.00 |
| 2.2 CE Factor 1.03% |  |  |  |  |  |  |  | $130.5 |
| Grand Total |  |  |  |  |  |  |  | $ 4,480.50 |