Repair multiple lights on both floors of the reserve center.

Proposal to:

| Troubleshoot lighting fixtures for repairs for 1st & 2nd floor areas. |  |
| --- | --- |
| Lighting fixtures that are inoperable contain Emergency Battery packs or |  |
| Inverters. Need replacement ballasts and back up Emergency packs |  |
| Replace ballasts in various fixtures, replace bulbs |  |

NOTE: ** Parts a couple of weeks out **

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Repair multiple lights on both floors |  |  |  |  |  |  |  |  |
| CSS #35151 - CMI #16875 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 03.12.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 110.00 | 10 |  |  |  |  |  | $ 1,100.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 1,824.10 |
| 1.3 Misc |  |  |  |  | $ - | $ - | $ - | $ 364.82 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 3,288.92 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE Factor 1.03% |  |  |  |  |  |  |  | $ 98.66 |
| Grand Total |  |  |  |  |  |  |  | $ 3,387.58 |