Repair both domestic hot water heaters.
********* These Units are complex and have been difficult to repair in the past. Repeated issues.

Proposal to:

Provide and install everything below.

Provide service on 2 Aerco INN800 Water heaters.

Combustion calibrates units, clean condensate traps/neutralizing tubes & refill tube media.

** They are the Manufacturer's Representative company and will purchase material directly **

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Repair both domestic hot water heaters. |  |  |  |  |  |  |  |  |
| CSS #548 - CMI #18693 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 07.27.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 130.00 | 8 |  |  |  |  |  | $ 1,040.00 |
| 1.2 Material - Control Box |  |  |  |  | $ - | $ - | $ - | $ 1,904.88 |
| 1.2 Material - Actuator/Regulator |  |  |  |  | $ - | $ - | $ - | $ 1,714.65 |
| 1.3 Misc |  |  |  |  |  |  |  | $ 272.78 |
| 1.4 Shipping |  |  |  |  |  |  |  | $ 45.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 4,977.31 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |

| 2.1 CE Factor 1.03% |  |  |  |  |  |  |  | $ 149.31 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Grand Total |  |  |  |  |  |  |  | $ 5,126.62 |