Repair leaks on kitchen water heaters

Proposal to:

Repair leaks on booster heaters in kitchen and replace T/P valves

Isolate booster heaters

Remove leaking sections of piping

Remove failed T/P valves

Furnish and install new fittings and piping

Furnish and install new T/P valves for booster heaters

Pressure test

Replace pipe covering that was removed

Put units back into service

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Repair leaks on kitchen water heaters |  |  |  |  |  |  |  |  |
| CSS #8941 - CMI #19193 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 08.22.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 115.00 | 12 |  |  |  |  |  | $ 1,380.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 1,250.01 |
| 1.3 Misc Costs |  |  |  |  | $ - | $ - | $ - | $ |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,630.01 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE Factor 1.03% |  |  |  |  |  |  |  | $ 78.90 |
| Grand Total |  |  |  |  |  |  |  | $ 2,708.91 |