This is a building system management issue...

Repair HP 1-4. Heat pump 1-4 is stuck in cooling mode. Attempted to reset but will not go into heating.

Proposal to:

- Remove failed Zone Sensor

- Install new OEM Zone Sensor

- Test and place system back into normal operation

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| This is a building system management issue |  |  |  |  |  |  |  |  |
| CSS #90919 - CMI #20209 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 01.24.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 175.00 |  |  |  |  |  |  | $ 1,787.50 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 585.50 |
| (purchased from Trane) |  |  |  |  |  |  |  |  |
| 1.3 Trip |  |  |  |  |  |  |  | $ 264.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,637.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |

| 2.1 Incurred |  |  |  |  |  |  |  | $ 750.00 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2.1 CE Factor 1.02% |  |  |  |  |  |  |  | $ 67.74 |
| Grand Total |  |  |  |  |  |  |  | $ 3,454.74 |