Repair damage caused by water damage.

Proposal to:

-Remove office furniture from (4) offices to storage area .

-Remove double11ft x 18 ft 5/8 sheetrock ceiling in foyer.

-Remove 4x8ft drywall in stairwell

-Install and finish 5/4 sheetrock on foyer ceiling and wall.

-Remove ceiling support grid in foyer and replace.

-Remove and re-install 8 fixtures in foyer ceiling.

-Remove and or repair drywall along hall corridors.

-Remove and or repair drywall along office floor.

-Install Insulation and drywall above ceiling where missing.

- Repaint offices and hall corridors & ceiling

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Clean up from water damage. |  |  |  |  |  |  |  |  |
| CSS #92036 - CMI #21077 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 03.08.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 120.00 | 269.2 |  |  |  |  |  | $ 30,924.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 2,671.73 |
| 1.3 Flooring Contractor |  |  |  |  |  |  |  | $ 16,214.77 |
| 1.4 20% Markup |  |  |  |  |  |  |  | $3,777.30 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 53,587.80 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |

| 2.1 CE Factor 1.02% |  |  |  |  |  |  |  | $ 1,071.75 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Grand Total |  |  |  |  |  |  |  | $ 54,659.55 |