Repair two eye wash stations in OMS building
Both eye wash stations have no water flow. Possible mixing valves issues

Proposal to:

- Replace two eye wash mixing valves.

- Provide new fittings.

- Test new system

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Repair two eye wash station |  |  |  |  |  |  |  |  |
| CSS #94316 - CMI #24288 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 09.05.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 12 |  |  |  |  |  | $ 1,020.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 2,200.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 3,220.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE Factor 1.02% |  |  |  |  |  |  |  | $ 64.40 |
| Grand Total |  |  |  |  |  |  |  | $ 3,284.40 |