No air conditioning in area of Headquarters Suite. No Air conditioning on first floor. A/C only working on frontside of second floor. All AHUs reset with negative results.

**Initial call was an Emergency call on Sat 7/08**

New wo 18683 opened so the initial can be invoiced.

Proposal to:

- Remove and the replacement of 2 OEM condenser fans

- Remove and the replacement of 2 OEM fan blades

- Check operation of the system with new parts.

Note: Vendor checked multiple parts houses for inventory. Only able to find at Grainger’s, Trane and Parts Town currently out of stock.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| No air conditioning in area |  |  |  |  |  |  |  |  |
| CSS #1623 - CMI #18683 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 07.20.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 172.00 | 16 |  |  |  |  |  | $ 2,752.00 |
| 1.1 Helper | $ 86.00 | 4 |  |  |  |  |  | $ 344.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 3,473.00 |
| 1.3 Misc Costs |  |  |  |  | $ - | $ - | $ - | $ 111.00 |
| 1.4 Shipping |  |  |  |  |  |  |  | $ 125.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 6,780.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE Factor 1.03% |  |  |  |  |  |  |  | $ 203.40 |
| Grand Total |  |  |  |  |  |  |  | $ 6,983.40 |