AFRC HVACs not working properly or not working at all. HVACs 3,4 & 7 are either not functioning properly or nor working at all. Units 3 & 4 are not receiving chilled water and unit 7 is completely inoperable.  HVAC control computer in room 101A is completely inoperable as well.

This proposal is to:

* Furnish, install and wire a Delta Controls BMS including control panels, sensors and other control devices for the following equipment:

* Remove and replace failed OEM contactor

* Place system back into normal operation

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over and Above |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| AFRC HVACs not working properly |  |  |  |  |  |  |  |  |
| CSS #21374 - CMI # 5621 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 11.14.19 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| Delta Controls BMS |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 152.31 | 235.5 |  |  |  |  |  | $ 35,863.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 4,123.00 |
| 2. Repair Cost |  |  |  |  |  |  |  |  |
| Remove & replace OEM contactor |  |  |  |  |  |  |  |  |
| 2.1 Labor |  |  |  |  |  |  |  | $1,262.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 41,248.00 |
| 3. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 3.1 Field Review at Site | $ 152.31 | 16 |  |  |  |  |  | $ 2,437.00 |
| CE Factor.9% |  |  |  |  |  |  |  | $ (4,368.50) |
| Grand Total |  |  |  |  |  |  |  | $ 39,316.50 |