Several HVAC air duct vents throughout the training building are showing signs of soot and dirt. Air ducting & venting lines need to be cleaned to improve air quality. Facility is located next to an asphalt plant & international airport. AMSA 106G building for service as well.  Building is co-located on site and has the same air quality issues as the training building. Several HVAC air duct vents throughout the training building are showing signs of soot and dirt. Air ducting & venting lines need to be cleaned to improve air quality. Facility is located next to an asphalt plant & international airport.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Several HVAC air duct vents |  |  |  |  |  |  |  |  |
| CSS #21626 - CMI # 5685 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 11.15.19 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| Building 1 |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 61.00 | 600 |  |  |  |  |  | $ 36,620.00 |
| 3 workers 200 hours each |  |  |  |  |  |  |  |  |
| 2. Repair Cost |  |  |  |  |  |  |  |  |
| AMSA 106g |  |  |  |  |  |  |  |  |
| 2.1 Labor | $ 61.00 | 150 |  |  |  |  |  | $ 9,155.00 |
| 3 workers 50 hours each |  |  |  |  |  |  |  |  |
| Lift Rental 4 weeks |  |  |  |  |  |  |  | $ 876.23 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 46,651.23 |
| 3. CE factor .90% |  |  |  |  |  |  |  | ($4,665.13) |
| Grand Total |  |  |  |  |  |  |  | $ 41,986.10 |

The proposal is to clean the HVAC systems servicing the above referenced locations.

Please see detailed sub-contractor proposal for scope of work.