Building isn't functioning properly. ROOM  124 AC unit is making loud noises and not cooling efficiently. Also, one of  the offices on the second floor .

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Building isn’t functioning properly |  |  |  |  |  |  |  |  |
| CSS #21788 - CMI # 7326 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 4.01.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 105.00 | 32 |  |  |  |  |  | $ 3,360.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 5,214.05 |
| 1.3 Misc |  |  |  |  |  |  |  | $ 1,131.20 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 9,705.25 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE Factor 1.03% |  |  |  |  |  |  |  | $ 291.15 |
| Grand Total |  |  |  |  |  |  |  | $ 9,996.40 |

Proposal is to supply and Install the following:

Room 124.

- Remove old ductless split units

- Install new units

- PSI test lines

- VAC line sets

- Charge circuit

- Test for proper operation.