Both the 1st floor chilled water system & 2nd floor hot water system had to be refilled with 40% propylene glycol concentration to work properly.  During refill, replacement of the feed controller, pressure gauge and a 2” dial were found to be needed in order for the system to work properly

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over and Above |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Both the 1st floor chilled water system |  |  |  |  |  |  |  |  |
| CSS #22261 - CMI # 6065 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 11.18.19 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 156.00 | 12 |  |  |  |  |  | $ 1,872.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 3,671.25 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 5,543.25 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| CE Factor .90 % |  |  |  |  |  |  |  | $ (554.33) |
| Grand Total |  |  |  |  |  |  |  | $ 4,988.92 |

Proposal below is to provide necessary labor and materials to perform the following repairs.

Please see attached sub-contractors proposal for more descriptions.