Several exterior/exit doors need to be repaired on property. The first-floor mechanical room double doors will not fully close and lock, recessed locking bolts on doors aren't working. AMSA 106G has an exit door with a bent door hinge and damaged door frame. Cold storage door for NG building in 258 MEP yard will not secure to center locking bar. Situation is both a security and safety concern.

Proposal to provide necessary labor and materials to perform the following repairs.

106G Exit Door		*      Realign frame

- Replace spring hinge

1st Floor Mechanical Room	*      Replace upper and lower auto latching flush bolts

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over and Above |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Several exterior/exit doors |  |  |  |  |  |  |  |  |
| CSS #22287 - CMI # 6078 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 11.13.18 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 156.00 | 16 |  |  |  |  |  | $ 2,496.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 564.50 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 3,060.50 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 156.00 | 1.5 |  |  |  |  |  | $ 234.00 |
| CE Factor .9% |  |  |  |  |  |  |  | ($329.45) |
| Grand Total |  |  |  |  |  |  |  | $ 2,965.05 |

Supply Storage		*      Reattached door frame