The double exterior doors in the assembly hall (next to the kitchen) will not close properly. Damage had been done to the door’s threshold impeding both opening and securing the doors. Repair will improve both safety and security for the training facility

Proposal to provide necessary labor and materials to perform the following work at the NYANG Recruit Center, 910 Raz Avenue, New Windsor, NY

Training Center –

- Replace double door sill plate for Assembly Hall

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| double exterior doors in assembly hall |  |  |  |  |  |  |  |  |
| CSS #22597 - CMI # 6477 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 02.12.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 158.00 | 16 |  |  |  |  |  | $ 2,528.00 |
| 2 men 1 day |  |  |  |  |  |  |  |  |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 350.00 |
| sill plate/hardware/misc |  |  |  |  |  |  |  |  |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,878.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 158.00 | 1 |  |  |  |  |  | $ 158.00 |
| 2.2 CE Factor .90% |  |  |  |  |  |  |  | ($303.60) |
| Grand Total |  |  |  |  |  |  |  | $ 2,732.40 |
| CMI Cost Estimate |  |  |  |  |  |  |  |  |