The guard shack used for facility entry control needs to be painted both inside and out. Interior floor decking needs minor repairs to keep the structure fully functional. Rubberized mat needs to be replaced.

Note: Guard shack was taken in door so it can get painted in in NG OMS

Proposal to:

- Replace missing standing seam roof panels.

- Install diamond plate kick plate on bottom of exterior doors.

- Sand interior and exterior painted surfaces.

- Apply two coats of paint on standing seam panels.

- Apply two coats of paint on interior andd exterior of guard shack.

- Install (2) Uline H3095 Cadillac anti-Fatigue mats

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| The guard shack, paint inside/out |  |  |  |  |  |  |  |  |
| CSS #22640 - CMI # 6493 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 01.28.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor/roof repair | $ 80.00 | 8 |  |  |  |  |  | $ 640.00 |
| 1.2 Labor/prep & paint | $ 80.00 | 64 |  |  |  |  |  | $ 5,120.00 |
| 1.3 Material |  |  |  |  | $ - | $ - | $ - | $ 1,753.39 |
| 1.4 Misc |  |  |  |  |  |  |  | $ 1,502.68 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 9,016.07 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE Factor 1.03% |  |  |  |  |  |  |  | $ 270.48 |
| Grand Total |  |  |  |  |  |  |  | $ 9,286.55 |

(Colors to be Approved by Army Reserve Center)