Training facility 1st stairwell (Stairwell A) has damage to the wall. Plaster has a long crack and pieces have fallen off onto the stairs. Additionally, damage has occurred to the hallway wall outside of room 122. Patching and painting required in both areas."

Proposal to provide necessary labor and materials to perform the following:

Training Center – Paint main hallway, elevator area and vending machine area to include:

- Clean and prep walls

- Repair crack in stairwell wall

- Two (2) coats of Industrial Pre-Catalyzed Water based Epoxy Paint; Semi-Gloss              color matched to existing wall color

- Necessary scaffolding

- Necessary floor protection

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Training facility 1st stairwell |  |  |  |  |  |  |  |  |
| CSS #23002 - CMI # 6508 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 2.07.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor - Scaffolding 2 men | $ 158.00 | 16 |  |  |  |  |  | $ 2,528.00 |
| 1.1 Labor - Prep / repair crack 2 men | $ 158.00 | 32 |  |  |  |  |  | $ 5,056.00 |
| 1.1 Labor - Paint / cleanup 2 men | $ 158.00 | 128 |  |  |  |  |  | $ 20,224.00 |
| 1.2 Material - Pre-Catalyzed Epoxy paint 10 gal |  |  |  |  | $ - | $ - | $ - | $ 672.00 |
| 1.2 Material - Joint compound |  |  |  |  | $ - | $ - | $ - | $ 70.00 |
| 1.2 Material - Tape |  |  |  |  | $ - | $ - | $ - | $ 28.00 |
| 1.2 Material - TSP Cleaner |  |  |  |  | $ - | $ - | $ - | $ 175.00 |
| 1.2 Material - Misc |  |  |  |  | $ - | $ - | $ - | $ 350.00 |
| 1.2 Material - Scaffold |  |  |  |  |  |  |  | $ 1,484.00 |
| 2.1 Sub Total |  |  |  |  |  |  |  | $ 30,587.00 |
| 2.2 CE Factor .90% |  |  |  |  |  |  |  | $3,058.70 |
| Grand Total |  |  |  |  |  |  |  | $ 27,528.30 |