The sliding gate for the training facility’s main parking lot isn’t working. Repair is needed to provide security

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| The sliding gate for the training facility’s main parking lot is not working. |  |  |  |  |  |  |  |  |
| CSS #25335 - CMI # 9320 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 6.26.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 100.00 | 16 |  |  |  |  |  | $ 1,600.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 491.00 |
| 1.3 Misc |  |  |  |  |  |  |  | $98.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,189.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 450.00 | 1 |  |  |  |  |  | $ 450.00 |
| 2.2 CE Factor 1.03% |  |  |  |  |  |  |  | $ 79.17 |
| Grand Total |  |  |  |  |  |  |  | $ 2,718.17 |

Proposal to include:

Gate does not open/ close properly with Automatic Motorized Gate Operator

Existing Trolley Trucks need replacement

Mechanical assembly of gate is missing several bolts and needs replacement hardware.

Remove gate from slide rail. Install New 8 Wheel Trolley Truck assemblies. Re-install gate.

Adjust operational slide parameters for Open/ Close.

Adjust Hydraulic slide rail for correct parameters.

Adjust all bottom roller guides for gate travel.