Water leak from the first-floor men's room is pooling in the adjacent hallway.  The leak appears to be coming from inside the wall, water is damaging both the sheetrock and lifting floor tiles.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Water leak from the first floor |  |  |  |  |  |  |  |  |
| CSS #25840 - CMI #9332 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 7.16.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $161.00 | 48 |  |  |  |  |  | $7,728.00 |
| 2 Techs |  |  |  |  |  |  |  |  |
| 1.2 Material |  |  |  |  | $- | $- | $- | $1,027.00 |
| See itemized (attached) |  |  |  |  |  |  |  |  |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $8,755.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE Factor 1.03% |  |  |  |  |  |  |  | $262.65 |
| Grand Total |  |  |  |  |  |  |  | $9,017.65 |

Proposal to:

INCLUDES:

• Demolition of existing sheet rock to expose piping

• Remove & fix leaking piping

• Leak check new piping

• Install new 5/8 fire x sheet rock to cover the new piping repairs

• Spackle, sand & paint the new sheet rock wall (color match as close as possible to the existing)

** VCT Tile replacement is not included in this proposal **