| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Asset 10742 |  |  |  |  |  |  |  |  |
| CSS #27251 - CMI #11896 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 8/05/21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 161.00 | 10 |  |  |  |  |  | $ 1,610.00 |
| 2 Techs 5 hours each |  |  |  |  |  |  |  |  |
| 1.2 Backflow preventer |  |  |  |  | $ - | $ - | $ - | $ 5,519.00 |
| 1.3 Gaskets |  |  |  |  |  |  |  | $21.00 |
| 1.4 Tretest Backflow Device |  |  |  |  |  |  |  | $ 150.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $7,300.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  |  |
| 2.2 CE Factor 1.03 |  |  |  |  |  |  |  | $219.00 |

Backflow device failed inspection - Watts 3" Model # LF909MOD, unit needs to be replaced

Proposal to Replace existing 3” Watts Backflow preventer and gasket with New.

Once repairs are made the device will be retested.

| Grand Total |  |  |  |  |  |  |  | $ 7519.00 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |