| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Asset 10743 |  |  |  |  |  |  |  |  |
| CSS #27253 - CMI #10368 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 1.14.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 161.00 | 10 |  |  |  |  |  | $ 1,610.00 |
| 2 techs 5 hours each |  |  |  |  |  |  |  |  |
| 1.2 Backflow Preventer |  |  |  |  | $ - | $ - | $ - | $ 6,189.00 |
| 1.3 Gasket / Bolts |  |  |  |  |  |  |  | $36.00 |
| 1.4 Retest Backflow Preventer |  |  |  |  |  |  |  | $ 150.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 7,996.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 161.00 | 1 |  |  |  |  |  | $ 161.00 |
| 2.2 CE Factor 1.03% |  |  |  |  |  |  |  | $239.88 |

Backflow device failed inspection - Watts 4" Model # 909, unit needs to be replaced, no pressure found

Proposal to remove and replace existing Watts backflow preventer #909 and gaskets and replace with new.

Once replaced it will be retested.

| Grand Total |  |  |  |  |  |  |  | $ 8,235.88 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |