Replace existing water heater with a new one

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Replace existing water heater with a new one |  |  |  |  |  |  |  |  |
| CSS #27673 - CMI #11108 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 1.14.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor 2 techs | $ 161.00 | 20 |  |  |  |  |  | $ 3,220.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 11,821.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 15,041.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE factor 1.03 |  |  |  |  |  |  |  | $ 451.23 |
| Grand Total |  |  |  |  |  |  |  | $ 15,492.23 |

Proposal to remove / replace Water Heater #3 / # WH-10738

Laars HWG-M2-250W/S# H07194239

Due to age and overall poor condition of water heater and piping (leaks/corrosion)

- Direct replacement equipment no longer exists - we recommend and propose to replace with

Laars NeoTherm# NTV-199 See attached specifications

- Remove and replace old water heater with new

- Provide all materials necessary including water connections piping, fittings, valves, exhaust/vent piping

and fittings

- Provide all necessary electrical connections

- As proposed, system will be complete and ready to operate.