Need a company to check controls and Delta systems we need to get it running also need a new computer, this was look at before about a year ago.

This proposal is a 2-part proposal:

Note:

If proposal is approved by May 14th, 2021 the work will commence in May and be completed in early July.

Subject: Delta Controls Upgrade REV 2

Project Location: Armed Forces Reserve Center, New Windsor, NY

Please see the vendor proposal for more descriptions of the repairs.

The scope of our work will include materials and labor for the following:

Provide (1) Delta JACE 8000

- Provide new graphics based on existing.

- Provide 3-year license maintenance.

Provide Rev 3.40 firmware upgrade for 62 controllers.

Review DDC programming for proper operation

- Will submit a list of recommended repairs.

Review existing VFD Programming.

- Will submit a list of recommended repairs.

Provide up to 4 hours training.

Provide 1-year warranty on labor and material.

Travel expense is included.

Clarifications and/or Exclusions:

- Repairs to existing equipment is excluded.

- Davis Bacon Wages are included.

- All labor performed during normal business hours (M-F, 7:00 am – 4:00 pm)

Add Alternate 1: Furnish (1) Windows Laptop P.C.

- The Laptop is meant to be used for access to the Delta Controls system via web browser.

(To add Alternate 2 is an additional is $1,500.00)

Note the Grand total on the 2nd page reflects the addition of Alternate 1.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over and Above |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Replace Delta BMS System |  |  |  |  |  |  |  |  |
| CSS #29988 - CMI #12534 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 4.29.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| Delta Controls BMS |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 152.31 | 338.74 |  |  |  |  |  | $ 51,594.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 5,201.00 |
| 2. Repair Cost |  |  |  |  |  |  |  |  |
| Add Alternate 2 - Windows Laptop PC |  |  |  |  |  |  |  |  |
| 2.1 Windows Laptop P.C. |  |  |  |  |  |  |  | $1,500.00 |
| CE Factor 1.03 % |  |  |  |  |  |  |  | $1,748.85 |
| Grand Total |  |  |  |  |  |  |  | $ 60,043.85 |
| Alternative |  |  |  |  |  |  |  |  |
| Add Alternate 1 - $1,500 to base project price |  |  |  |  |  |  |  |  |
| Alternate price included in grand total |  |  |  |  |  |  |  |  |