Personnel door in OMS building on National Guard side will not secure properly. The door jamb appears to be damaged.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Personnel door in OMS building |  |  |  |  |  |  |  |  |
| CSS #30311 - CMI #12860 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 05.10.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 108.00 | 10 |  |  |  |  |  | $ 1,080.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 3,199.41 |
| 1.3 Misc |  |  |  |  |  |  |  | $ 684.67 |
| 1.4 Shipping & Handling |  |  |  |  |  |  |  | $ 50.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 5,014.08 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE factor 1.03% |  |  |  |  |  |  |  | $ 150.42 |
| Grand Total |  |  |  |  |  |  |  | $ 5,164.50 |

Proposal to:

- Replace Door and Jamb assembly in OMS building

- Replace closer

- Paint to match existing.

- Straighten damaged wall framing member