Repair 3 of the 4 toilets in the AMSA 106 building ( Maint Bldg). Toilets will not drain.

Proposal to:

- Snake sewer line in in Amsa106 shop bathrooms.

- Rebuild 4 toilet flushometer assemblies.

- Install seal & diaphragm kits

- Install vacuum breaker assemblies

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Repair 3 of the 4 toilets in the AMSA |  |  |  |  |  |  |  |  |
| CSS #34338 - CMI #16292 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 02.08.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 120.00 | 16 |  |  |  |  |  | $ 1,920.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 146.48 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 37.40 |
| 1.3 Markup |  |  |  |  |  |  |  | $ 420.78 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,524.66 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE Factor .9% |  |  |  |  |  |  |  | $ (252.47) |
| Grand Total |  |  |  |  |  |  |  | $ 2,272.19 |