Emergency request.

Repair AC, 411 ENG BDE Change of Command Ceremony in Assembly Hall today, temperatures will be near 90 degrees today.

Our proposal is based on the following:

1. Remove existing defective motor.

2. Install new motor.

3. Align motor sheaves.

4. Verify drive operation.

Our proposal excludes the following:

1. Parts or materials not herein listed.

2. Labor to replace parts or materials not here in listed.

3. Permits or fees.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Repair AC 411 ENG BDE |  |  |  |  |  |  |  |  |
| CSS #501 - CMI #17650 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 06.09.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 150.00 | 12 |  |  |  |  |  | $ 1,800.00 |
| 1.2 Motor |  |  |  |  | $ - | $ - | $ - | 2,502.00 |
| 1.3 Shipping |  |  |  |  |  |  |  | $ 250.00 |
| 1.4 Misc |  |  |  |  |  |  |  | 443.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 4,995.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE Factor 1.03% |  |  |  |  |  |  |  | $ 149.85 |

| Grand Total |  |  |  |  |  |  |  | $ 5,144.85 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |