AMSA gate will open on motor but will not close.

Proposal to:

- Repair rolling up gate #5 at AMSA building.

- Provide and replace 14 horizontal gate elements, 16.5 ft long.

- Replace bottom beam.

- Connect all necessary wiring and chain.

- Put grease on tracks.

- Test the gate.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| AMSA gate will open on motor |  |  |  |  |  |  |  |  |
| CSS #90241 - CMI #19388 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 11.15.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 24 |  |  |  |  |  | $ 2,040.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 1,030.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 3,070.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred |  |  |  |  |  |  |  | $ 250.00 |
| 2.2 CE Factor .90% |  |  |  |  |  |  |  | $ (332.00) |

| Grand Total |  |  |  |  |  |  |  | $ 2,988.00 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |