Repair Air Compressor at Maintenance Building located in mechanical room.

Proposal to:

- Replace compressor Motor

- Replace motor starter switch

- Replace pressure switch

Note: Removed the contactor off old compressor, installed into this compressor. All 3 legs had power with the contactor, but the motor wouldn’t start.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Repair Air Compressor at Maintenance |  |  |  |  |  |  |  |  |
| CSS #93137 - CMI #22120 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 04.25.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 120.00 | 12 |  |  |  |  |  | $ 1,440.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 2,689.80 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 4,129.80 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred |  |  |  |  |  |  |  | $ 450.00 |
| 2.2 CE Factor 1.02% |  |  |  |  |  |  |  | $ 91.59 |

| Grand Total |  |  |  |  |  |  |  | $ 4,671.39 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |