Repair A/C at AMSA #106

Proposal to:

1. Recover refrigerant.

2. Remove compressor.

3. Replace compressor, drier and contactor.

4. Pressure test with nitrogen.

5. Evacuate and charge with new refrigerant.

6. Replace fuse.

7. Test and inspect

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Repair A/C at AMSA #106 |  |  |  |  |  |  |  |  |
| CSS #94319 - CMI #23780 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 08.08.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 150.00 | 16 |  |  |  |  |  | $ 2,400.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 3,071.76 |
| 1.2 Misc Costs |  |  |  |  | $ - | $ - | $ - | $ 480.00 |
| 1.3 Trip |  |  |  |  |  |  |  | $ 150.00 |
| 1.4 shipping |  |  |  |  |  |  |  | $ 120.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 6,221.76 |

| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2.1 CE Factor 1.02% |  |  |  |  |  |  |  | $ 124.43 |
| Grand Total |  |  |  |  |  |  |  | $ 6,346.19 |