Repair Air
Dryer/Evaporator on compressor.
Air Dryer/Evaporator on compressor is not working. This is in an AMSA Shop and this hinders the shop's ability to perform their mission.

Proposal to:

- Replace compressed air dryer on mechanical room.

- Disconnect and connect plumbing system.

- Provide and install new filter

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Repair Air Dryer/Evaporator |  |  |  |  |  |  |  |  |
| CSS #94962 - CMI #24294 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 9/21/2023 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 16 |  |  |  |  |  | $ 1,360.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 3,965.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 5,325.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE Factor 1.02% |  |  |  |  |  |  |  | $ 106.50 |
| Grand Total |  |  |  |  |  |  |  | $ 5,431.50 |