Repair multiple leaks on hot water piping in 1st floor mechanical room

Proposal to repair:

Leak repair on domestic hot water heaters (multiple leaks)

Isolate and drain hot water heaters

Remove pipe covering from leaking piping

Cut out leaking sections of pipe

Furnish and install new piping and fittings as required

Pressure test new sections of piping

Replace pipe covering that was removed

Put units back into service

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY128 |  |  |  |  |  |  |  |  |
| Repair multiple leaks |  |  |  |  |  |  |  |  |
| CSS #932 - CMI #18256 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 07.07.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 115.00 | 20 |  |  |  |  |  | $ 2,300.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 2,020.35 |
| 1.3 Misc Costs |  |  |  |  | $ - | $ - | $ - | $ 84.27 |
| 1.4 Consumables |  |  |  |  |  |  |  | $ 150.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 4,554.62 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 CE Factor 1.03% |  |  |  |  |  |  |  | $ 136.63 |

| Grand Total |  |  |  |  |  |  |  | $ 4,691.25 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |