Repair by replacement, missing safety edge and head stop on drill hall door (ARC) and provide and install vinyl OH door trim on 3 OH doors (BMA and ARC) (match existing color scheme).

Proposal to furnish & install.

Materials for repair to (3) sectional doors as follows:

Asset#7746-16' electric reversing edge, (16') 3" PVC weatherstrip

Asset#7747-(44') 2" PVC weatherstrip, green

Asset#7776-(34') 2" PVC weatherstrip, green

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| PA011 Brookville |  |  |  |  |  |  |  |  |
| Repair by replacement, missing safety edge |  |  |  |  |  |  |  |  |
| CSS #14265- CMI # 4928 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 1.24.19 |  |  |  |  |  |  |  |  |
| Assets - 7776, 7747 & 7746 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 98.00 | 18 |  |  |  |  |  | $ 1,764.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 441.28 |
| Markup 20% |  |  |  |  |  |  |  | $ 88.26 |
| 1.3 Lift Charge |  |  |  |  |  |  |  | $290.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,583.54 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 98.00 | 3 |  |  |  |  |  | $ 294.00 |
| CE Factor 102% |  |  |  |  |  |  |  | $ 57.55 |
| Grand Total |  |  |  |  |  |  |  | $ 2,935.09 |