Asset 6860, Compressor is not running, tested to be bad.

Proposal to provide and perform the following:

• Remove defective compressor

• Reclaim refrigerant

• Provide and install (1) Copeland Compressor and drier

• Weigh in factory charge of R404A by superheat

• Start up

• Warranty

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| PA051-194 Johnstown |  |  |  |  |  |  |  |  |
| Top of Form Compressor is not running Bottom of Form |  |  |  |  |  |  |  |  |
| CSS #15759 - CMI # 5730 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 02.05.19 |  |  |  |  |  |  |  |  |
| Asset # 6860 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 98.00 | 8 |  |  |  |  |  | $ 784.00 |
| 1.2 Copeland Compressor |  |  |  |  | $ - | $ - | $ - | $ 1,644.68 |
| 1.3 Consumables |  |  |  |  |  |  |  | $175.00 |
| 1.4 Shipping |  |  |  |  |  |  |  | $ 24.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,627.68 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 98.00 | 2 |  |  |  |  |  | $ 196.00 |
| CE Factor 102% |  |  |  |  |  |  |  | $ 56.47 |
| Grand Total |  |  |  |  |  |  |  | $ 2,880.15 |