Asset 4613 Unit Heater, Gas Fired Radiant, gas pressure regulator is too high. Repair gas regulator. Asset 4256 Unit Heater, Gas, Suspended, cracked heat exchanger/bad gas valve.  Repair heat exchanger.

Proposal is to provide and perform the following:

• Properly disconnect and removal of old Unit Heater Gas Suspended – Asset#4256

• Provide and install (1) Reznor Gas Unit Heater

• Reconnect to existing

• Sheet Metal

• Duct Lift

• Start up

• Warranty

Note:

Asset#4613 Unit Heater – we were unable to diagnose this unit heater as there were a lot of items blocking the unit that were piled high. Our tech spoke to Al Molinski to see if they were going to move the items, he said they were not going to move the items at this time, please see photo attached.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| PA053 Bldg 2 Johnstown |  |  |  |  |  |  |  |  |
| Unit Heater, Gas Fired Radiant |  |  |  |  |  |  |  |  |
| CSS #16927 - CMI # 7474 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 1.29.19 |  |  |  |  |  |  |  |  |
| Asset # 4256 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 98.00 | 16 |  |  |  |  |  | $ 1,568.00 |
| 1.2 Pressure Relief valve |  |  |  |  | $ - | $ - | $ - | $ 894.05 |
| 1.3 Sheet Metal |  |  |  |  |  |  |  | $100.00 |
| 1.4 Duct Lift |  |  |  |  |  |  |  | $ 100.00 |
| 1.5 Shipping |  |  |  |  |  |  |  | $ 24.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,686.05 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 98.00 | 1.5 |  |  |  |  |  | $ 147.00 |
| CE factor 102% |  |  |  |  |  |  |  | $ 56.66 |
| Grand Total |  |  |  |  |  |  |  | $ 2,889.71 |