Several lighting repairs need to be made throughout interior/exterior of facility. Repairs include, multiple light fixtures throughout interior of both the OMS and ARC, 2 emergency exit lights are inop, and 1 pole light in POV lot is inop.

Proposal for material & labor.

- Repair one pole light (Aerial lift required)

- Repair five low bay light fixtures in OMS

- Replace two inoperable exit signs

- Repair multiple florescent light fixtures throughout ARC

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| PA096 Washington |  |  |  |  |  |  |  |  |
| Several lighting repairs |  |  |  |  |  |  |  |  |
| CSS #17175 - CMI # 8165 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 03.15.19 |  |  |  |  |  |  |  |  |
| Routine P3 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 65.00 | 20 |  |  |  |  |  | $ 1,300.00 |
| 1.2 Materials + 20% |  |  |  |  | $ - | $ - | $ - | $ 953.57 |
| 1.3 Consumables |  |  |  |  |  |  |  | $40.00 |
| 1.4 Lift Rental |  |  |  |  |  |  |  | $ 1,102.90 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 3,396.47 |
| CE Factor 102% |  |  |  |  |  |  |  | $ 67.92 |
| Grand Total |  |  |  |  |  |  |  | $ 3,464.39 |