| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| PA166 |  |  |  |  |  |  |  |  |
| Repair electric heater in stairwell |  |  |  |  |  |  |  |  |
| CSS #17107 - CMI # 7478 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 02.20.19 |  |  |  |  |  |  |  |  |
| P2 Urgent |  |  |  |  |  |  |  |  |
| Asset 4410 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| Asset # 4410 |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 98.00 | 5 |  |  |  |  |  | $ 490.00 |
| 1.2 Electric Unit Heater |  |  |  |  | $ - | $ - | $ - | $ 903.88 |
| 1.3 Shipping |  |  |  |  |  |  |  | $ 24.00 |
| 2. Repair Cost |  |  |  |  |  |  |  |  |
| Repair 6-9 Automatic Air vents |  |  |  |  |  |  |  |  |
| 2.1 Labor | $ 98.00 | 8 |  |  |  |  |  | $ 784.00 |
| 2.2 Honeywell vents & elbows |  |  |  |  | $ - | $ - | $ - | $ 228.74 |
| 2.3 Shipping |  |  |  |  |  |  |  | $ 24.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,454.62 |
| 3. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 3.1 Field Review at Site | $ 98.00 | 3 |  |  |  |  |  | $ 294.00 |
| CE Factor 102% |  |  |  |  |  |  |  | $ 54.97 |
| Grand Total |  |  |  |  |  |  |  | $ 2,803.59 |

Repair electric heater in stairwell by EOC (suspect bad fan motor); and repair approx. 6-9 failed automatic air vents on heating system piping (AHU3, AHU2, Wet media system, Rm 218).

Proposal to provide and perform the following:

- Provide and replace new Unit heater asset 4410

- Start up

- Warranty

Proposal to provide and perform the following: - Repair 6-9 Automatic air vents on heating system

- Isolate and Replacement of 5 Air vents on boiler system

- Isolate and repair ¾ black iron elbow leak on boiler system

- Start up

- Warranty